## Overview
Project Overview
Basic project information, building profile, energy type, and high-level operating conditions. Units follow ASHRAE inch-pound (I-P) conventions.
Project Information
Project Name
Project Address
Project Contact
Project Description and Energy Profile
Building Type | Data Center□ ; Office Building□; Hotel□; Hospital□; Shopping Mall□; Commercial Complex□; Airport or High-speed Rail Station□; Pharmaceutical Plant□; Winery, Distillery, or Tobacco Plant□; Photovoltaic Plant; Other□;
Mechanical Room Completion Year
Building Area (ft²) |  | Design Cooling Load [Btu/(h·ft²)]
Conditioned Area (ft²) |  | Design Heating Load [Btu/(h·ft²)]
| Operating Months | Daily Operating Hours | Units Operating at
|  |  | High Load | Medium Load | Low Load
Cooling
Heating
| Electricity | Natural Gas | Steam | Other
Cooling | □ | □ | □ | □
Heating | □ | □ | □ | □
Energy Unit Price | ____/kWh | ____/therms | ____/1000 lb
Annual Energy Consumption | ____kWh | ____therms | ____1000 lb
Annual Cooling Cost
Annual Heating Cost

## Operating Load Profile
Operating Load Profile
| Months | Daily Operating Hours | Chiller |  | Condenser Water Pump | Chilled Water Pump |  | Cooling Tower
[6 empty] | (Primary) | (Secondary)
|  |  | Type | Quantity | Quantity | Quantity | Quantity | Quantity
High Load
Medium Load
Low Load

## Equipment
Chillers
Chiller Type ID | Screw / Centrifugal / Absorption | Cooling Capacity (tons) | Rated Energy Consumption (kW) | Quantity
Chiller Water Pumps
(Primary Pump) Chilled Water Pump Type ID | Power (kW) | Flow Rate (gpm) | Head (ft w.c.) | Quantity | VFD? If VFD, provide operating frequency
1#
2#
3#
(Secondary Pump) Chilled Water Pump Type ID | Power (kW) | Flow Rate (gpm) | Head (ft w.c.) | Quantity | VFD? If VFD, provide operating frequency
1#
2#
3#
Condenser Water Pumps
Condenser Water Pump Type ID | Power (kW) | Flow Rate (gpm) | Head (ft w.c.) | Quantity | VFD? If VFD, provide operating frequency
1#
2#
3#
Hot Water Pumps
(Primary Pump) Hot Water Pump Type ID | Power (kW) | Flow Rate (gpm) | Head (ft w.c.) | Quantity
1#
2#
3#
(Secondary Pump) Hot Water Pump Type ID | Power (kW) | Flow Rate (gpm) | Head (ft w.c.) | Quantity | VFD? If VFD, provide operating frequency
1#
2#
3#
Cooling Towers
Cooling Tower Type ID | Configuration | Configuration | Quantity | Flow Rate (gpm) | Power (kW) | VFD? If VFD, provide operating frequency
| Counterflow Tower / Crossflow Tower | Shape
1# |  | Square ; Round□ ;
2# |  | Square□ ; Round□ ;
3# |  | Square□ ; Round□ ;
Boilers
Boiler Model | Boiler Type | Rated Heating Capacity (Btu/h) | Fuel | Quantity
Plate Heat Exchangers
Plate Heat Exchanger Type ID | Pressure (psi) (primary side, secondary side) | Flow Rate (gpm) (primary side, secondary side) | Supply/Return Water Temperature (primary side, secondary side) | Quantity
1#
2#
3#
HVAC Terminal Equipment
Terminal Equipment | Type | Motor Power (kW) | Quantity | Motorized Valve? | VFD? If VFD, provide operating frequency | Valve Diameter (in.)
1# | Fan Coil Unit□ ; Air Handling Unit (AHU); Pre-cooling Air Unit (PAU)□ ; Make-up Air Unit (MAU) ; Variable Air Volume System (VAV) ;
2# | Fan Coil Unit□ ; Air Handling Unit (AHU)□ ; Pre-cooling Air Unit (PAU)□ ; Recirculating Air Unit (RCU)□ ; Variable Air Volume System (VAV) ;
3# | Fan Coil Unit□ ; Air Handling Unit (AHU)□ ; Pre-cooling Air Unit (PAU)□ ; Recirculating Air Unit (RCU)□ ; Variable Air Volume System (VAV) ;
4# | Fan Coil Unit□ ; Air Handling Unit (AHU)□ ; Pre-cooling Air Unit (PAU)□ ; Recirculating Air Unit (RCU)□ ; Variable Air Volume System (VAV) ;
5# | Fan Coil Unit□ ; Air Handling Unit (AHU)□ ; Pre-cooling Air Unit (PAU)□ ; Recirculating Air Unit (RCU)□ ; Variable Air Volume System (VAV) ;

## Detailed Parameters
Chiller Detailed Information
Chiller Type
Rated Chilled Water Flow (gpm) |  | Rated Chilled Water Temperature Difference (°F)
Rated Condenser Water Flow (gpm) |  | Rated Condenser Water Temperature Difference (°F)
Evaporator |  | Condenser
Chilled Water Leaving Temperature Setpoint (°F) |  | Condenser Water Leaving Temperature (°F)
Actual Chilled Water Leaving Temperature (°F) |  | Condenser Water Return Temperature (°F)
Actual Chilled Water Return Temperature (°F)
Evaporator Saturation Temperature (°F) |  | Condenser Saturation Temperature (°F)
Average Chiller Load Percentage
Actual Chiller Operating Current (A)
Chilled Water Pump Detailed Information
No. | Item | Description
1 | Are more chilled water pumps operating than chillers?
2 | Required differential pressure between supply and return headers (psi) | <7 psi □
7-15 psi □
15-22 psi □
>22 psi □
Actual pressure differential between supply and return headers (psi)
3 | Chiller chilled water inlet/outlet pressure differential (psi) | <15 psi □
15-22 psi □
>22 psi □
Actual chiller chilled water pressure differential (psi)
4 | Pump ID | Actual Current (A) | Actual Pump Delivery Pressure Differential (psi)
1#
2#
3#
5 | Total number of branches from supply/return headers
6 | Control Method (Check Manual Control, otherwise describe control logic) | Manual Control | Differential Pressure Control | Temperature Difference Control
□
Condenser Water Pump Detailed Information
No. | Item | Description
1 | Are more condenser water pumps operating than chillers?
2 | Required differential pressure between supply and return headers (psi) | <7 psi □
7-15 psi □
15-22 psi □
>22 psi □
Actual pressure differential between supply and return headers (psi)
3 | Condenser water inlet/outlet pressure differential (psi) | <15 psi □
15-22 psi □
>22 psi □
Actual chiller condenser water pressure differential (psi)
4 | Pump ID | Actual Current (A) | Actual Pump Delivery Pressure Differential (psi)
1#
2#
3#
5 | Total number of branches from supply/return headers
6 | Control Method (Check Manual Control, otherwise describe control logic) | Manual Control | Differential Pressure Control | Temperature Difference Control
□
Hot Water Pump Detailed Information
No. | Item | Description
1 | Are more hot water pumps operating than boilers?
2 | Required differential pressure between supply and return headers (psi) | <7 psi □
7-15 psi □
15-22 psi □
>22 psi □
Actual pressure differential between supply and return headers (psi)
3 | Boiler hot water inlet/outlet pressure differential (psi) | <15 psi □
15-22 psi □
>22 psi □
Actual boiler hot water pressure differential (psi)
4 | Pump ID | Actual Current (A) | Actual Pump Delivery Pressure Differential (psi)
1#
2#
3#
5 | Total number of branches from supply/return headers
6 | Control Method (Check Manual Control, otherwise describe control logic) | Manual Control | Differential Pressure Control | Temperature Difference Control
□
Cooling Tower Detailed Information
No. | Item | Description
1 | Main Pipe Diameter (in.)
Number of Branch Pipes from Main Pipe
Branch Pipe Diameter (in.)
| Is there significant uneven water distribution? | Yes □ | No□
| Are there supply risers on both sides? | Yes □ | No□
Cooling Tower Supply Pipe Diameter (in.)
2 | Cooling Tower Temperature Difference (°F)
Cooling Tower Outlet Water Temperature at Peak Load (°F)
| Is additional water or ice added? | Yes□ | No□
3 | Distance Between Fill Sheets (in.)
4 | Cooling Tower Operating Sequence | When 1 chiller is on, run _____ cooling tower(s)
When 2 chillers are on, run _____ cooling tower(s)
When 3 chillers are on, run _____ cooling tower(s)
5 | Cooling tower location and distance from mechanical room (one way: ft) | <165 ft □
| Cooling tower location and distance from mechanical room (one way: ft) | 165-330 ft □
| Cooling tower location and distance from mechanical room (one way: ft) | 330-490 ft □
Boiler
Boiler Type
Rated hot water flow (gpm) |  | Rated hot water delta T (°F)
Rated hot water entering temp (°F) |  | Rated hot water leaving temp (°F)

## Historical Data
Please provide historical operating data for at least 1 month at 1-minute resolution as data files (CSV preferred), rather than filling it into this form.
System | Point / Measurement | Notes
Chiller | Operating status
Load percentage
Current percentage
Chilled water supply temperature setpoint
Chilled water leaving temperature
Chilled water entering temperature
Evaporating temperature
Condenser water leaving temperature
Condenser water entering temperature
Condensing temperature
Real-time power
| Cumulative electricity consumption | daily cumulative kWh reset at 00:00
Chilled Water Pumps | Operating status
Actual frequency
Frequency setpoint
Real-time power
| Cumulative electricity consumption | daily cumulative kWh reset at 00:00
Condenser Water Pumps | Operating status
Actual frequency
Frequency setpoint
Real-time power
| Cumulative electricity consumption | daily cumulative kWh reset at 00:00
Cooling Tower | Operating status
Actual frequency
Frequency setpoint
Real-time power
| Cumulative electricity consumption | daily cumulative kWh reset at 00:00
Tempeature | Outdoor air temperature
Outdoor air humidity
Wet-bulb temperature
System | Chilled water header supply temperature
Chilled water header return temperature
Chilled water header supply pressure
Chilled water header return pressure
Condenser water header supply temperature
Condenser water header return temperature
Condenser water header supply pressure
Condenser water header return pressure
Chilled water flow rate
Condenser water flow rate
Time | Current Local Time

## Other Docs
Please provide historical operating data as files rather than filling it into this form.
Category | Requested Item
Drawings | Schematic diagram of cooling/heating source system
Air-side and water-side system floor plans
HVAC system design narrative and automatic control system design narrative
Power distribution drawings
Equipment List | Mechanical room equipment inventory
Terminal equipment inventory
Energy Data | Annual energy consumption data list for the central HVAC system
Annual energy consumption data list for terminal equipment
BAS System | Vendor name and communication protocol type
Point list including communication IP addresses